{"text_format":"3","workbook":"xls","n_sheets":2,"sheets":["工程量清单分项","汇总表"],"not_rendered":{"external_links":1,"defined_names":6},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"工程量清单分项","index":0,"n_rows":1290,"n_cols":7,"rows_kept":1290,"merged":[[0,0,0,6],[2,0,2,6],[3,2,3,3],[3,4,3,6]],"flags":["formulas_cached_only"]}
["安盐•曲阳国际广场星级酒店配电箱工程量清单"]
["项目名称：安徽盐业投资有限公司"]
["分 项 价 格 表"]
["单位名称：",null,"项目名称：",null,"安盐国际广场"]
["配电图号:","-1AT-PF3",1,"台"]
["元件名称","规格型号","单位","数量","单价(元)","总价(元)","生产厂家"]
["塑壳断路器","NM1-63S/32002 32A","只",2]
["双电源切换","YES1-100GA/4P 32A","只",1]
["电压传感器","DH-A-53MR/S","只",1]
["熔断器","RT18-63","只",4]
["浪涌保护器","LKU-60KA/4P","只",1]
["控制保护开关","DTSK1-25A 消防隔离型","只",1]
["控制保护开关","DTSK1-25A","只",1]
["交流接触器","CJ20-25","只",1]
["二次控制单元","双速风机控制","套",1]
["元件小计"]
["辅材"]
["人工费"]
["管理费"]
["税费"]
["利润"]
["壳体",null,"台",1]
["合计"]
["配电图号:","-1AP-SF2",1,"台"]
["元件名称","规格型号","单位","数量","单价(元)","总价(元)","生产厂家"]
["塑壳断路器","NM1-63H/42002 32A","只",2]
["双电源切换","YES1-100GA/4P 80A","只",1]
["电压传感器","DH-A-53MR/S","只",1]
["熔断器","RT18-63","只",4]
["浪涌保护器","LKU-60KA/4P","只",1]
["塑壳断路器","NM1-63S/32002 25A","只",4]
["元件小计"]
["辅材"]
["人工费"]
["管理费"]
["税费"]
["利润"]
["壳体",null,"台",1]
["合计"]
["配电图号:","-1AP-SF3",1,"台"]
["元件名称","规格型号","单位","数量","单价(元)","总价(元)","生产厂家"]
["塑壳断路器","NM1-63H/42002 32A","只",2]
["双电源切换","YES1-100GA/4P 80A","只",1]
["电压传感器","DH-A-53MR/S","只",1]
["熔断器","RT18-63","只",4]
["浪涌保护器","LKU-60KA/4P","只",1]
["塑壳断路器","NM1-63S/32002 25A","只",2]
["元件小计"]
["辅材"]
["人工费"]
["管理费"]
["税费"]
["利润"]
["壳体",null,"台",1]
["合计"]
["配电图号:","-1AT-PF2",1,"台"]
["元件名称","规格型号","单位","数量","单价(元)","总价(元)","生产厂家"]
["塑壳断路器","NM1-63S/32002 32A","只",2]
["双电源切换","YES1-100GA/4P 32A","只",1]
["电压传感器","DH-A-53MR/S","只",1]
["熔断器","NRT36-00 160A及以下","只",4]
["浪涌保护器","LKU-B-25KA/4","只",1]
["控制保护开关","DTSK1-32A 消防隔离型","只",1]
["二次控制单元","风机单回路控制","套",1]
["元件小计"]
["辅材"]
["人工费"]
["管理费"]
["税费"]
["利润"]
["壳体",null,"台",1]
["合计"]
["配电图号:","-1AT2",1,"台"]
["元件名称","规格型号","单位","数量","单价(元)","总价(元)","生产厂家"]
["塑壳断路器","NM1-63H/42002 32A","只",2]
["双电源切换","YES1-100GA/4P 80A","只",1]
["电压传感器","DH-A-53MR/S","只",1]
["熔断器","RT18-63","只",4]
["浪涌保护器","LKU-60KA/4P","只",1]
["塑壳断路器","NM1-63S/32002 25A","只",6]
["元件小计"]
["辅材"]
["人工费"]
["管理费"]
["税费"]
["利润"]
["壳体",null,"台",1]
["合计"]
["配电图号:","-1AP-PF4",1,"台"]
["元件名称","规格型号","单位","数量","单价(元)","总价(元)","生产厂家"]
["塑壳断路器","NM1-63H/42002 32A","只",2]
["双电源切换","YES1-100GA/4P 80A","只",1]
["电压传感器","DH-A-53MR/S","只",1]
["熔断器","RT18-63","只",4]
["浪涌保护器","LKU-60KA/4P","只",1]
["塑壳断路器","NM1-63S/32002 25A","只",6]
["元件小计"]
["辅材"]
["人工费"]
["管理费"]
["税费"]
["利润"]
["壳体",null,"台",1]
["合计"]
["配电图号:","-1AP-PF6",1,"台"]
["元件名称","规格型号","单位","数量","单价(元)","总价(元)","生产厂家"]
["塑壳断路器","NM1-63H/42002 32A","只",2]
["双电源切换","YES1-100GA/4P 80A","只",1]
["电压传感器","DH-A-53MR/S","只",1]
["熔断器","RT18-63","只",4]
["浪涌保护器","LKU-60KA/4P","只",1]
["塑壳断路器","NM1-63S/32002 25A","只",3]
["元件小计"]
["辅材"]
["人工费"]
["管理费"]
["税费"]
["利润"]
["壳体",null,"台",1]
["合计"]
["配电图号:","-1AT-PF1",1,"台"]
["元件名称","规格型号","单位","数量","单价(元)","总价(元)","生产厂家"]
["塑壳断路器","NM1-125S/32002 63A","只",2]
["双电源切换","YES1-100GA/4P 63A","只",1]
["电压传感器","DH-A-53MR/S","只",1]
["熔断器","RT18-63","只",4]
["浪涌保护器","LKU-60KA/4P","只",1]
["控制保护开关","DTSK1-63A 消防隔离型","只",1]
["控制保护开关","DTSK1-32A","只",1]
["交流接触器","CJ20-63","只",1]
["二次控制单元","双速风机控制","套",1]
["元件小计"]
["辅材"]
["人工费"]
["管理费"]
["税费"]
["利润"]
["壳体",null,"台",1]
["合计"]
["配电图号:","-1AT-PF4",1,"台"]
["元件名称","规格型号","单位","数量","单价(元)","总价(元)","生产厂家"]
["塑壳断路器","NM1-63S/32002 32A","只",2]
["双电源切换","YES1-100GA/4P 32A","只",1]
["电压传感器","DH-A-53MR/S","只",1]
["熔断器","RT18-63","只",4]
["浪涌保护器","LKU-60KA/4P","只",1]
["控制保护开关","DTSK1-16A 消防隔离型","只",1]
["控制保护开关","DTSK1-16A","只",1]
["交流接触器","CJ20-25","只",1]
["二次控制单元","双速风机控制","套",1]
["元件小计"]
["辅材"]
["人工费"]
["管理费"]
["税费"]
["利润"]
["壳体",null,"台",1]
["合计"]
["配电图号:","-1AP-SF1",1,"台"]
["元件名称","规格型号","单位","数量","单价(元)","总价(元)","生产厂家"]
["塑壳断路器","NM1-63H/42002 32A","只",2]
["双电源切换","YES1-100GA/4P 80A","只",1]
["电压传感器","DH-A-53MR/S","只",1]
["熔断器","RT18-63","只",4]
["浪涌保护器","LKU-60KA/4P","只",1]
["塑壳断路器","NM1-63S/32002 25A","只",3]
["元件小计"]
["辅材"]
["人工费"]
["管理费"]
["税费"]
["利润"]
["壳体",null,"台",1]
["合计"]
["配电图号:","-1AP-PF5",1,"台"]
["元件名称","规格型号","单位","数量","单价(元)","总价(元)","生产厂家"]
["塑壳断路器","NM1-63H/42002 32A","只",2]
["双电源切换","YES1-100GA/4P 80A","只",1]
["电压传感器","DH-A-53MR/S","只",1]
["熔断器","RT18-63","只",4]
["浪涌保护器","LKU-60KA/4P","只",1]
["塑壳断路器","NM1-63S/32002 25A","只",4]
["元件小计"]
["辅材"]
["人工费"]
["管理费"]
["税费"]
["利润"]
["壳体",null,"台",1]
["合计"]
["配电图号:","-1AT1",1,"台"]
["元件名称","规格型号","单位","数量","单价(元)","总价(元)","生产厂家"]
["塑壳断路器","NM1-125H/42002 63A","只",2]
["双电源切换","YES1-100GA/4P 80A","只",1]
["熔断器","RT18-63","只",4]
["浪涌保护器","LKU-60KA/4P","只",1]
["塑壳断路器","NM1-63S/32002 25A","只",9]
["元件小计"]
["辅材"]
["人工费"]
["管理费"]
["税费"]
["利润"]
["壳体",null,"台",1]
["合计"]
["配电图号:","-1AT-SH",1,"台"]
["元件名称","规格型号","单位","数量","单价(元)","总价(元)","生产厂家"]
["塑壳断路器","NM1-63H/4300 50A","只",2]
["双电源切换","YES1-100GA/4P 50A","只",1]
["电压传感器","DH-A-53MR/S","只",1]
["电流互感器","BH-0.66Ⅰ100/5 1匝 φ30小型 1级","只",3]
["电流表","6L2-A","只",3]
["电压表","6L2-V","只",1]
["转换开关","LW5D-16 YH3/3","只",1]
["熔断器","RT18-32","只",4]
["浪涌保护器","LKU-40KA/4P","只",1]
["塑壳断路器","NM1-63S/33002 40A","只",3]
["塑壳断路器","NM1-63S/33002 32A","只",1]
["元件小计"]
["辅材"]
["人工费"]
["管理费"]
["税费"]
["利润"]
["壳体",null,"台",1]
["合计"]
["配电图号:","-1AP-PS4",1,"台"]
["元件名称","规格型号","单位","数量","单价(元)","总价(元)","生产厂家"]
["塑壳断路器","NM1-63H/42002 32A","只",2]
["双电源切换","YES1-100GA/4P 80A","只",1]
["电压传感器","DH-A-53MR/S","只",1]
["熔断器","RT18-63","只",4]
["浪涌保护器","LKU-60KA/4P","只",1]
["塑壳断路器","NM1-63S/32002 25A","只",3]
["元件小计"]
["辅材"]
["人工费"]
["管理费"]
["税费"]
["利润"]
["壳体",null,"台",1]
["合计"]
["配电图号:","-1PF-D-2",1,"台"]
["元件名称","规格型号","单位","数量","单价(元)","总价(元)","生产厂家"]
["小型漏电","DZ47LE-32 4P C25A","只",1]
["控制保护开关","DTSK1-1A","只",1]
["二次控制单元","风机单回路控制","套",1]
["元件小计"]
["辅材"]
["人工费"]
["管理费"]
["税费"]
["利润"]
["壳体",null,"台",1]
["合计"]
["配电图号:","-1PF-D-3",1,"台"]
["元件名称","规格型号","单位","数量","单价(元)","总价(元)","生产厂家"]
["小型漏电","DZ47LE-32 4P C25A","只",1]
["控制保护开关","DTSK1-10A","只",1]
["二次控制单元","风机单回路控制","套",1]
["元件小计"]
["辅材"]
["人工费"]
["管理费"]
["税费"]
["利润"]
["壳体",null,"台",1]
["合计"]
["配电图号:","-1PY-D-1",1,"台"]
["元件名称","规格型号","单位","数量","单价(元)","总价(元)","生产厂家"]
["小型漏电","DZ47LE-32 4P C25A","只",1]
["控制保护开关","DTSK1-3A","只",1]
["二次控制单元","风机单回路控制","套",1]
["元件小计"]
["辅材"]
["人工费"]
["管理费"]
["税费"]
["利润"]
["壳体",null,"台",1]
["合计"]
["配电图号:","-1PF-D-9",1,"台"]
["元件名称","规格型号","单位","数量","单价(元)","总价(元)","生产厂家"]
["塑壳断路器","NM1-63S/32002 25A","只",1]
["控制保护开关","DTSK1-4A 消防隔离型","只",1]
["熔断器","RT18-32","只",4]
["浪涌保护器","LKU-40KA/4P","只",1]
["二次控制单元","风机单回路控制","套",1]
["元件小计"]
["辅材"]
["人工费"]
["管理费"]
["税费"]
["利润"]
["壳体",null,"台",1]
["合计"]
["配电图号:","-1PY-D-3",1,"台"]
["元件名称","规格型号","单位","数量","单价(元)","总价(元)","生产厂家"]
["小型漏电","DZ47LE-32 4P C25A","只",1]
["控制保护开关","DTSK1-10A","只",1]
["二次控制单元","风机单回路控制","套",1]
["元件小计"]
["辅材"]
["人工费"]
["管理费"]
["税费"]
["利润"]
["壳体",null,"台",1]
["合计"]
["配电图号:","-1SF-D-5",1,"台"]
["元件名称","规格型号","单位","数量","单价(元)","总价(元)","生产厂家"]
["小型漏电","DZ47LE-32 4P C25A","只",1]
["控制保护开关","DTSK1-10A","只",1]
["二次控制单元","风机单回路控制","套",1]
["元件小计"]
["辅材"]
["人工费"]
["管理费"]
["税费"]
["利润"]
["壳体",null,"台",1]
["合计"]
["配电图号:","-1SF-D-6",1,"台"]
["元件名称","规格型号","单位","数量","单价(元)","总价(元)","生产厂家"]
["小型漏电","DZ47LE-32 4P C25A","只",1]
["控制保护开关","DTSK1-3A","只",1]
["二次控制单元","风机单回路控制","套",1]
["元件小计"]
["辅材"]
["人工费"]
["管理费"]
["税费"]
["利润"]
["壳体",null,"台",1]
["合计"]
["配电图号:","-1SF-D-7",1,"台"]
["元件名称","规格型号","单位","数量","单价(元)","总价(元)","生产厂家"]
["小型漏电","DZ47LE-32 4P C25A","只",1]
["控制保护开关","DTSK1-6.3A","只",1]
["二次控制单元","风机单回路控制","套",1]
["元件小计"]
["辅材"]
["人工费"]
["管理费"]
["税费"]
["利润"]
["壳体",null,"台",1]
["合计"]
["配电图号:","-1PF-D-6",1,"台"]
["元件名称","规格型号","单位","数量","单价(元)","总价(元)","生产厂家"]
["小型漏电","DZ47LE-32 4P C25A","只",1]
["控制保护开关","DTSK1-3A","只",1]
["二次控制单元","风机单回路控制","套",1]
["元件小计"]
["辅材"]
["人工费"]
["管理费"]
["税费"]
["利润"]
["壳体",null,"台",1]
["合计"]
["配电图号:","-1SF-D-10",1,"台"]
["元件名称","规格型号","单位","数量","单价(元)","总价(元)","生产厂家"]
["小型漏电","DZ47LE-32 4P C25A","只",1]
["控制保护开关","DTSK1-6.3A","只",1]
["二次控制单元","风机单回路控制","套",1]
["元件小计"]
["辅材"]
["人工费"]
["管理费"]
["税费"]
["利润"]
["壳体",null,"台",1]
["合计"]
["配电图号:","-1PF-D-4",1,"台"]
["元件名称","规格型号","单位","数量","单价(元)","总价(元)","生产厂家"]
["小型漏电","DZ47LE-32 4P C25A","只",1]
["控制保护开关","DTSK1-3A","只",1]
["二次控制单元","风机单回路控制","套",1]
["元件小计"]
["辅材"]
["人工费"]
["管理费"]
["税费"]
["利润"]
["壳体",null,"台",1]
["合计"]
["配电图号:","-1SF-D-3",1,"台"]
["元件名称","规格型号","单位","数量","单价(元)","总价(元)","生产厂家"]
["小型漏电","DZ47LE-32 4P C25A","只",1]
["控制保护开关","DTSK1-1A","只",1]
["二次控制单元","风机单回路控制","套",1]
["元件小计"]
["辅材"]
["人工费"]
["管理费"]
["税费"]
["利润"]
["壳体",null,"台",1]
["合计"]
["配电图号:","-1SF-D-4",1,"台"]
["元件名称","规格型号","单位","数量","单价(元)","总价(元)","生产厂家"]
["小型漏电","DZ47LE-32 4P C25A","只",1]
["控制保护开关","DTSK1-6.3A","只",1]
["二次控制单元","风机单回路控制","套",1]
["元件小计"]
["辅材"]
["人工费"]
["管理费"]
["税费"]
["利润"]
["壳体",null,"台",1]
["合计"]
["配电图号:","-1PF-D-7",1,"台"]
["元件名称","规格型号","单位","数量","单价(元)","总价(元)","生产厂家"]
["小型漏电","DZ47LE-32 4P C25A","只",1]
["控制保护开关","DTSK1-1A","只",1]
["二次控制单元","风机单回路控制","套",1]
["元件小计"]
["辅材"]
["人工费"]
["管理费"]
["税费"]
["利润"]
["壳体",null,"台",1]
["合计"]
["配电图号:","-1PY-D-2",1,"台"]
["元件名称","规格型号","单位","数量","单价(元)","总价(元)","生产厂家"]
["小型漏电","DZ47LE-32 4P C25A","只",1]
["控制保护开关","DTSK1-10A","只",1]
["二次控制单元","风机单回路控制","套",1]
["元件小计"]
["辅材"]
["人工费"]
["管理费"]
["税费"]
["利润"]
["壳体",null,"台",1]
["合计"]
["配电图号:","-1PF-D-8",1,"台"]
["元件名称","规格型号","单位","数量","单价(元)","总价(元)","生产厂家"]
["小型漏电","DZ47LE-32 4P C25A","只",1]
["控制保护开关","DTSK1-10A","只",1]
["二次控制单元","风机单回路控制","套",1]
["元件小计"]
["辅材"]
["人工费"]
["管理费"]
["税费"]
["利润"]
["壳体",null,"台",1]
["合计"]
["配电图号:","-1SF-D-1",1,"台"]
["元件名称","规格型号","单位","数量","单价(元)","总价(元)","生产厂家"]
["小型漏电","DZ47LE-32 4P C25A","只",1]
["控制保护开关","DTSK1-6.3A","只",1]
["二次控制单元","风机单回路控制","套",1]
["元件小计"]
["辅材"]
["人工费"]
["管理费"]
["税费"]
["利润"]
["壳体",null,"台",1]
["合计"]
["配电图号:","-1SF-D-2",1,"台"]
["元件名称","规格型号","单位","数量","单价(元)","总价(元)","生产厂家"]
["小型漏电","DZ47LE-32 4P C25A","只",1]
["控制保护开关","DTSK1-3A","只",1]
["二次控制单元","风机单回路控制","套",1]
["元件小计"]
["辅材"]
["人工费"]
["管理费"]
["税费"]
["利润"]
["壳体",null,"台",1]
["合计"]
["配电图号:","-1SF-D-9",1,"台"]
["元件名称","规格型号","单位","数量","单价(元)","总价(元)","生产厂家"]
["小型漏电","DZ47LE-32 4P C25A","只",1]
["控制保护开关","DTSK1-3A","只",1]
["二次控制单元","风机单回路控制","套",1]
["元件小计"]
["辅材"]
["人工费"]
["管理费"]
["税费"]
["利润"]
["壳体",null,"台",1]
["合计"]
["配电图号:","-1ALX",1,"台"]
["元件名称","规格型号","单位","数量","单价(元)","总价(元)","生产厂家"]
["小型断路器","DZ47-60 3P C32A","只",1]
["小型断路器","DZ47-60 1P C16A","只",2]
["小型漏电","DZ267LE-32 1P+N C20A","只",4]
["小型断路器","DZ47-60 1P D16A","只",1]
["小型漏电","DZ267LE-32 1P+N C16A","只",1]
["元件小计"]
["辅材"]
["人工费"]
["管理费"]
["税费"]
["利润"]
["壳体",null,"台",1]
["合计"]
["配电图号:","3PF-3-1",1,"台"]
["元件名称","规格型号","单位","数量","单价(元)","总价(元)","生产厂家"]
["塑壳断路器","NM1-63S/32002 25A","只",1]
["控制保护开关","DTSK1-10A 消防隔离型","只",1]
["熔断器","RT18-32","只",4]
["浪涌保护器","LKU-40KA/4P","只",1]
["二次控制单元","风机单回路控制","套",1]
["元件小计"]
["辅材"]
["人工费"]
["管理费"]
["税费"]
["利润"]
["壳体",null,"台",1]
["合计"]
["配电图号:","3SF-3-1",1,"台"]
["元件名称","规格型号","单位","数量","单价(元)","总价(元)","生产厂家"]
["塑壳断路器","NM1-63S/33002 25A","只",1]
["控制保护开关","DTSK1-10A 消防隔离型","只",1]
["熔断器","RT18-32","只",4]
["浪涌保护器","LKU-40KA/4P","只",1]
["二次控制单元","风机单回路控制","套",1]
["元件小计"]
["辅材"]
["人工费"]
["管理费"]
["税费"]
["利润"]
["壳体",null,"台",1]
["合计"]
["配电图号:","21HZD1",1,"台"]
["元件名称","规格型号","单位","数量","单价(元)","总价(元)","生产厂家"]
["小型断路器","DZ47-60 4P C32A","只",1]
["双电源切换","YES1-100GA/4P 32A","只",1]
["监控探测器","SCK600A1","只",1]
["探测互感器","LF40","只",1]
["小型漏电","DZ267LE-32 1P+N C20A","只",3]
["熔断器","NRT36-00 160A及以下","只",4]
["浪涌保护器","LKU-B-25KA/4","只",1]
["元件小计"]
["辅材"]
["人工费"]
["管理费"]
["税费"]
["利润"]
["壳体",null,"台",1]
["合计"]
["配电图号:","1ALE1",1,"台"]
["元件名称","规格型号","单位","数量","单价(元)","总价(元)","生产厂家"]
["塑壳断路器","NM1-63H/4340 32A","只",2]
["电压传感器","DH-A-53MR/S","只",1]
["双电源切换","YES1-100GA/4P 40A","只",1]
["监控探测器","SCK600A1","只",1]
["探测互感器","LF40","只",1]
["小型断路器","DZ47-60 1P C16A","只",12]
["小型漏电","DZ267LE-32 1P+N C16A","只",1]
["熔断器","RT18-32","只",4]
["浪涌保护器","LKU-40KA/4P","只",1]
["元件小计"]
["辅材"]
["人工费"]
["管理费"]
["税费"]
["利润"]
["壳体",null,"台",1]
["合计"]
["配电图号:","2ALE2",1,"台"]
["元件名称","规格型号","单位","数量","单价(元)","总价(元)","生产厂家"]
["塑壳断路器","NM1-63H/4340 32A","只",2]
["电压传感器","DH-A-53MR/S","只",1]
["双电源切换","YES1-100GA/4P 40A","只",1]
["监控探测器","SCK600A1","只",1]
["探测互感器","LF40","只",1]
["小型断路器","DZ47-60 1P C16A","只",4]
["小型漏电","DZ267LE-32 1P+N C16A","只",1]
["熔断器","RT18-32","只",4]
["浪涌保护器","LKU-40KA/4P","只",1]
["元件小计"]
["辅材"]
["人工费"]
["管理费"]
["税费"]
["利润"]
["壳体",null,"台",1]
["合计"]
["配电图号:","3ALE3",1,"台"]
["元件名称","规格型号","单位","数量","单价(元)","总价(元)","生产厂家"]
["塑壳断路器","NM1-63H/4340 32A","只",2]
["电压传感器","DH-A-53MR/S","只",1]
["双电源切换","YES1-100GA/4P 40A","只",1]
["监控探测器","SCK600A1","只",1]
["探测互感器","LF40","只",1]
["小型断路器","DZ47-60 1P C16A","只",4]
["小型漏电","DZ267LE-32 1P+N C16A","只",1]
["熔断器","RT18-32","只",4]
["浪涌保护器","LKU-40KA/4P","只",1]
["元件小计"]
["辅材"]
["人工费"]
["管理费"]
["税费"]
["利润"]
["壳体",null,"台",1]
["合计"]
["配电图号:","4ALE4-1",1,"台"]
["元件名称","规格型号","单位","数量","单价(元)","总价(元)","生产厂家"]
["塑壳断路器","NM1-63H/4340 32A","只",2]
["电压传感器","DH-A-53MR/S","只",1]
["双电源切换","YES1-100GA/4P 40A","只",1]
["监控探测器","SCK600A1","只",1]
["探测互感器","LF40","只",1]
["小型断路器","DZ47-60 1P C16A","只",4]
["小型漏电","DZ267LE-32 1P+N C16A","只",1]
["熔断器","RT18-32","只",4]
["浪涌保护器","LKU-40KA/4P","只",1]
["元件小计"]
["辅材"]
["人工费"]
["管理费"]
["税费"]
["利润"]
["壳体",null,"台",1]
["合计"]
["配电图号:","4ALE4-2",1,"台"]
["元件名称","规格型号","单位","数量","单价(元)","总价(元)","生产厂家"]
["塑壳断路器","NM1-63H/4340 32A","只",2]
["电压传感器","DH-A-53MR/S","只",1]
["双电源切换","YES1-100GA/4P 40A","只",1]
["监控探测器","SCK600A1","只",1]
["探测互感器","LF40","只",1]
["小型断路器","DZ47-60 1P C16A","只",4]
["小型漏电","DZ267LE-32 1P+N C16A","只",1]
["熔断器","RT18-32","只",4]
["浪涌保护器","LKU-40KA/4P","只",1]
["元件小计"]
["辅材"]
["人工费"]
["管理费"]
["税费"]
["利润"]
["壳体",null,"台",1]
["合计"]
["配电图号:","5ALE5",1,"台"]
["元件名称","规格型号","单位","数量","单价(元)","总价(元)","生产厂家"]
["塑壳断路器","NM1-63H/4340 32A","只",2]
["电压传感器","DH-A-53MR/S","只",1]
["双电源切换","YES1-100GA/4P 40A","只",1]
["监控探测器","SCK600A1","只",1]
["探测互感器","LF40","只",1]
["小型断路器","DZ47-60 1P C16A","只",4]
["小型漏电","DZ267LE-32 1P+N C16A","只",1]
["熔断器","RT18-32","只",4]
["浪涌保护器","LKU-40KA/4P","只",1]
["元件小计"]
["辅材"]
["人工费"]
["管理费"]
["税费"]
["利润"]
["壳体",null,"台",1]
["合计"]
["配电图号:","ALE6~ALE20",15,"台"]
["元件名称","规格型号","单位","数量","单价(元)","总价(元)","生产厂家"]
["塑壳断路器","NM1-63H/4340 32A","只",2]
["电压传感器","DH-A-53MR/S","只",1]
["双电源切换","YES1-100GA/4P 40A","只",1]
["监控探测器","SCK600A1","只",1]
["探测互感器","LF40","只",1]
["小型断路器","DZ47-60 1P C16A","只",4]
["小型漏电","DZ267LE-32 1P+N C16A","只",1]
["熔断器","RT18-32","只",4]
["浪涌保护器","LKU-40KA/4P","只",1]
["元件小计"]
["辅材"]
["人工费"]
["管理费"]
["税费"]
["利润"]
["壳体",null,"台",1]
["合计"]
["配电图号:","-1ALE1",1,"台"]
["元件名称","规格型号","单位","数量","单价(元)","总价(元)","生产厂家"]
["塑壳断路器","NM1-63H/4340 32A","只",2]
["电压传感器","DH-A-53MR/S","只",1]
["双电源切换","YES1-100GA/4P 40A","只",1]
["监控探测器","SCK600A1","只",1]
["探测互感器","LF40","只",1]
["小型断路器","DZ47-60 1P C16A","只",6]
["熔断器","RT18-32","只",4]
["浪涌保护器","LKU-40KA/4P","只",1]
["元件小计"]
["辅材"]
["人工费"]
["管理费"]
["税费"]
["利润"]
["壳体",null,"台",1]
["合计"]
["配电图号:","-1ALE2",1,"台"]
["元件名称","规格型号","单位","数量","单价(元)","总价(元)","生产厂家"]
["塑壳断路器","NM1-63H/4340 32A","只",2]
["电压传感器","DH-A-53MR/S","只",1]
["双电源切换","YES1-100GA/4P 40A","只",1]
["监控探测器","SCK600A1","只",1]
["探测互感器","LF40","只",1]
["小型断路器","DZ47-60 1P C16A","只",7]
["熔断器","RT18-32","只",4]
["浪涌保护器","LKU-40KA/4P","只",1]
["元件小计"]
["辅材"]
["人工费"]
["管理费"]
["税费"]
["利润"]
["壳体",null,"台",1]
["合计"]
["配电图号:","1ATS",1,"台"]
["元件名称","规格型号","单位","数量","单价(元)","总价(元)","生产厂家"]
["塑壳断路器","NM1-125S/3300 63A","只",1]
["塑壳断路器","NM1-63S/3300 32A","只",2]
["熔断器","RT18-63","只",4]
["浪涌保护器","LKU-80KA/4P","只",1]
["元件小计"]
["辅材"]
["人工费"]
["管理费"]
["税费"]
["利润"]
["壳体",null,"台",1]
["合计"]
["配电图号:","3ATS",1,"台"]
["元件名称","规格型号","单位","数量","单价(元)","总价(元)","生产厂家"]
["塑壳断路器","NM1-125S/3300 63A","只",1]
["塑壳断路器","NM1-63S/3300 32A","只",2]
["熔断器","RT18-63","只",4]
["浪涌保护器","LKU-80KA/4P","只",1]
["元件小计"]
["辅材"]
["人工费"]
["管理费"]
["税费"]
["利润"]
["壳体",null,"台",1]
["合计"]
["配电图号:","4ATS",1,"台"]
["元件名称","规格型号","单位","数量","单价(元)","总价(元)","生产厂家"]
["塑壳断路器","NM1-125H/42002 125A","只",2]
["双电源切换","YES1-250GA/4P 160A","只",1]
["监控探测器","SCK600A1","只",1]
["探测互感器","LF160 125A","只",1]
["塑壳断路器","NM1-63S/33002 50A","只",3]
["小型漏电","DZ267LE-32 1P+N C20A","只",2]
["小型漏电","DZ267LE-32 1P+N C16A","只",6]
["小型断路器","DZ47-60 1P C16A","只",2]
["变压器","NDK-100VA 220/36","只",2]
["熔断器","RT18-32","只",4]
["浪涌保护器","LKU-40KA/4P","只",1]
["元件小计"]
["辅材"]
["人工费"]
["管理费"]
["税费"]
["利润"]
["壳体",null,"台",1]
["合计"]
["配电图号:","21ATS1",1,"台"]
["元件名称","规格型号","单位","数量","单价(元)","总价(元)","生产厂家"]
["塑壳断路器","NM1-125H/42002 125A","只",2]
["双电源切换","YES1-250GA/4P 160A","只",1]
["监控探测器","SCK600A1","只",1]
["探测互感器","LF160 125A","只",1]
["塑壳断路器","NM1-63S/33002 50A","只",3]
["小型漏电","DZ267LE-32 1P+N C20A","只",2]
["小型漏电","DZ267LE-32 1P+N C16A","只",6]
["小型断路器","DZ47-60 1P C16A","只",2]
["变压器","NDK-100VA 220/36","只",2]
["熔断器","RT18-32","只",4]
["浪涌保护器","LKU-40KA/4P","只",1]
["元件小计"]
["辅材"]
["人工费"]
["管理费"]
["税费"]
["利润"]
["壳体",null,"台",1]
["合计"]
["配电图号:","21ATS2",1,"台"]
["元件名称","规格型号","单位","数量","单价(元)","总价(元)","生产厂家"]
["塑壳断路器","NM1-125S/32002 63A","只",2]
["电压传感器","DH-A-53MR/S","只",1]
["双电源切换","YES1-100GA/4P 80A","只",1]
["监控探测器","SCK600A1","只",1]
["探测互感器","LF160 63A","只",1]
["塑壳断路器","NM1-63S/32002 50A","只",1]
["小型漏电","DZ267LE-32 1P+N C20A","只",1]
["小型漏电","DZ267LE-32 1P+N C16A","只",3]
["小型断路器","DZ47-60 1P C16A","只",2]
["变压器","NDK-100VA 220/36","只",1]
["熔断器","RT18-32","只",4]
["浪涌保护器","LKU-40KA/4P","只",1]
["元件小计"]
["辅材"]
["人工费"]
["管理费"]
["税费"]
["利润"]
["壳体",null,"台",1]
["合计"]
["配电图号:","21ATS3",1,"台"]
["元件名称","规格型号","单位","数量","单价(元)","总价(元)","生产厂家"]
["塑壳断路器","NM1-125S/32002 63A","只",2]
["双电源切换","YES1-100GA/4P 80A","只",1]
["监控探测器","SCK600A1","只",1]
["探测互感器","LF160 63A","只",1]
["塑壳断路器","NM1-63S/33002 50A","只",1]
["小型漏电","DZ267LE-32 1P+N C20A","只",1]
["小型漏电","DZ267LE-32 1P+N C16A","只",3]
["小型断路器","DZ47-60 1P C16A","只",2]
["变压器","NDK-100VA 220/36","只",1]
["熔断器","RT18-32","只",4]
["浪涌保护器","LKU-40KA/4P","只",1]
["元件小计"]
["辅材"]
["人工费"]
["管理费"]
["税费"]
["利润"]
["壳体",null,"台",1]
["合计"]
["配电图号:","5JHJF",1,"台"]
["元件名称","规格型号","单位","数量","单价(元)","总价(元)","生产厂家"]
["塑壳断路器","NM1-125H/4300 63A","只",2]
["双电源切换","YES1-100GA/4P 63A","只",1]
["电压传感器","DH-A-53MR/S","只",1]
["电流互感器","BH-0.66Ⅰ150/5 φ30 0.5级","只",3]
["电流表","6L2-A","只",3]
["塑壳断路器","NM1-125S/3300 63A","只",1]
["小型断路器","DZ47-60 1P C25A","只",7]
["小型断路器","DZ47-60 1P C16A","只",3]
["小型断路器","DZ47-60 1P C40A","只",1]
["元件小计"]
["辅材"]
["人工费"]
["管理费"]
["税费"]
["利润"]
["壳体",null,"台",1]
["合计"]
["配电图号:","2AP-CFJ2",1,"台"]
["元件名称","规格型号","单位","数量","单价(元)","总价(元)","生产厂家"]
["塑壳断路器","NM1-63H/43002 40A","只",2]
["电压传感器","DH-A-53MR/S","只",1]
["双电源切换","YES1-100GA/4P 40A","只",1]
["监控探测器","SCK600A1","只",1]
["探测互感器","LF40","只",1]
["塑壳断路器","NM1-63S/33002 32A","只",3]
["熔断器","RT18-32","只",4]
["浪涌保护器","LKU-40KA/4P","只",1]
["元件小计"]
["辅材"]
["人工费"]
["管理费"]
["税费"]
["利润"]
["壳体",null,"台",1]
["合计"]
["配电图号:","3AP-CFJ3",1,"台"]
["元件名称","规格型号","单位","数量","单价(元)","总价(元)","生产厂家"]
["塑壳断路器","NM1-63H/43002 40A","只",2]
["电压传感器","DH-A-53MR/S","只",1]
["双电源切换","YES1-100GA/4P 40A","只",1]
["监控探测器","SCK600A1","只",1]
["探测互感器","LF40","只",1]
["塑壳断路器","NM1-63S/33002 32A","只",3]
["熔断器","RT18-32","只",4]
["浪涌保护器","LKU-40KA/4P","只",1]
["元件小计"]
["辅材"]
["人工费"]
["管理费"]
["税费"]
["利润"]
["壳体",null,"台",1]
["合计"]
["配电图号:","21ATPY-W-1",1,"台"]
["元件名称","规格型号","单位","数量","单价(元)","总价(元)","生产厂家"]
["塑壳断路器","NM1-63S/32002 32A","只",2]
["双电源切换","YES1-100GA/4P 32A","只",1]
["电压传感器","DH-A-53MR/S","只",1]
["控制保护开关","DTSK1-32A 消防隔离型","只",1]
["二次控制单元","风机单回路控制","套",1]
["熔断器","NRT36-00 160A及以下","只",4]
["浪涌保护器","LKU-B-25KA/4","只",1]
["元件小计"]
["辅材"]
["人工费"]
["管理费"]
["税费"]
["利润"]
["壳体",null,"台",1]
["合计"]
["配电图号:","1XFS",1,"台"]
["元件名称","规格型号","单位","数量","单价(元)","总价(元)","生产厂家"]
["塑壳断路器","NM1-125S/3300 63A","只",2]
["双电源切换","YES1-100GA/4P 63A","只",1]
["塑壳断路器","NM1-125S/3300 63A","只",3]
["小型断路器","DZ47-60 2P C32A","只",1]
["小型断路器","DZ47-60 1P C20A","只",2]
["熔断器","NRT36-00 160A及以下","只",4]
["浪涌保护器","LKU-B-25KA/4","只",1]
["元件小计"]
["辅材"]
["人工费"]
["管理费"]
["税费"]
["利润"]
["壳体",null,"台",1]
["合计"]
["配电图号:","4AT-XH1",1,"台"]
["元件名称","规格型号","单位","数量","单价(元)","总价(元)","生产厂家"]
["塑壳断路器","NM1-63S/3200 32A","只",1]
["电流互感器","BH-0.66Ⅰ100/5 1匝 φ30小型 1级","只",3]
["电流表","6L2-A","只",3]
["电压表","6L2-V","只",1]
["转换开关","LW5D-16 YH3/3","只",1]
["监控探测器","SCK600A1","只",1]
["探测互感器","LF40","只",1]
["塑壳断路器","NM1-63S/33002 25A","只",4]
["熔断器","RT18-32","只",4]
["浪涌保护器","LKU-40KA/4P","只",1]
["元件小计"]
["辅材"]
["人工费"]
["管理费"]
["税费"]
["利润"]
["壳体",null,"台",1]
["合计"]
["配电图号:","4AT-JYFJ-1",2,"台"]
["元件名称","规格型号","单位","数量","单价(元)","总价(元)","生产厂家"]
["塑壳断路器","NM1-63S/32002 32A","只",2]
["电压传感器","DH-A-53MR/S","只",1]
["双电源切换","YES1-100GA/4P 40A","只",1]
["控制保护开关","DTSK1-25A 消防隔离型","只",1]
["二次控制单元","风机单回路控制","套",1]
["熔断器","RT18-63","只",4]
["浪涌保护器","LKU-60KA/4P","只",1]
["元件小计"]
["辅材"]
["人工费"]
["管理费"]
["税费"]
["利润"]
["壳体",null,"台",1]
["合计"]
["配电图号:","5AT-JYFJ-1",1,"台"]
["元件名称","规格型号","单位","数量","单价(元)","总价(元)","生产厂家"]
["塑壳断路器","NM1-63S/32002 32A","只",2]
["电压传感器","DH-A-53MR/S","只",1]
["双电源切换","YES1-100GA/4P 40A","只",1]
["控制保护开关","DTSK1-25A 消防隔离型","只",1]
["二次控制单元","风机单回路控制","套",1]
["熔断器","RT18-63","只",4]
["浪涌保护器","LKU-60KA/4P","只",1]
["元件小计"]
["辅材"]
["人工费"]
["管理费"]
["税费"]
["利润"]
["壳体",null,"台",1]
["合计"]
["配电图号:","6AT-JYFJ-1",2,"台"]
["元件名称","规格型号","单位","数量","单价(元)","总价(元)","生产厂家"]
["塑壳断路器","NM1-63S/32002 32A","只",2]
["电压传感器","DH-A-53MR/S","只",1]
["双电源切换","YES1-100GA/4P 40A","只",1]
["控制保护开关","DTSK1-25A 消防隔离型","只",1]
["二次控制单元","风机单回路控制","套",1]
["熔断器","RT18-63","只",4]
["浪涌保护器","LKU-60KA/4P","只",1]
["元件小计"]
["辅材"]
["人工费"]
["管理费"]
["税费"]
["利润"]
["壳体",null,"台",1]
["合计"]
["配电图号:","21AT-JYFJ-1",1,"台"]
["元件名称","规格型号","单位","数量","单价(元)","总价(元)","生产厂家"]
["塑壳断路器","NM1-63S/32002 32A","只",2]
["电压传感器","DH-A-53MR/S","只",1]
["双电源切换","YES1-100GA/4P 40A","只",1]
["控制保护开关","DTSK1-25A 消防隔离型","只",1]
["二次控制单元","风机单回路控制","套",1]
["熔断器","RT18-63","只",4]
["浪涌保护器","LKU-60KA/4P","只",1]
["元件小计"]
["辅材"]
["人工费"]
["管理费"]
["税费"]
["利润"]
["壳体",null,"台",1]
["合计"]
["配电图号:","21AT-JYFJ-2 21AT-JYFJ-3",2,"台"]
["元件名称","规格型号","单位","数量","单价(元)","总价(元)","生产厂家"]
["塑壳断路器","NM1-63S/32002 32A","只",2]
["电压传感器","DH-A-53MR/S","只",1]
["双电源切换","YES1-100GA/4P 32A","只",1]
["控制保护开关","DTSK1-32A 消防隔离型","只",1]
["二次控制单元","风机单回路控制","套",1]
["熔断器","NRT36-00 160A及以下","只",4]
["浪涌保护器","LKU-B-25KA/4","只",1]
["元件小计"]
["辅材"]
["人工费"]
["管理费"]
["税费"]
["利润"]
["壳体",null,"台",1]
["合计"]
["配电图号:","3AT-PY-3-1",1,"台"]
["元件名称","规格型号","单位","数量","单价(元)","总价(元)","生产厂家"]
["塑壳断路器","NM1-63S/32002 32A","只",2]
["电压传感器","DH-A-53MR/S","只",1]
["双电源切换","YES1-100GA/4P 32A","只",1]
["控制保护开关","DTSK1-32A 消防隔离型","只",1]
["二次控制单元","风机单回路控制","套",1]
["熔断器","RT18-63","只",4]
["浪涌保护器","LKU-60KA/4P","只",1]
["元件小计"]
["辅材"]
["人工费"]
["管理费"]
["税费"]
["利润"]
["壳体",null,"台",1]
["合计"]
["配电图号:","6AT-PY-3-1",1,"台"]
["元件名称","规格型号","单位","数量","单价(元)","总价(元)","生产厂家"]
["塑壳断路器","NM1-63S/32002 32A","只",2]
["电压传感器","DH-A-53MR/S","只",1]
["双电源切换","YES1-100GA/4P 32A","只",1]
["控制保护开关","DTSK1-32A 消防隔离型","只",1]
["二次控制单元","风机单回路控制","套",1]
["熔断器","RT18-63","只",4]
["浪涌保护器","LKU-60KA/4P","只",1]
["元件小计"]
["辅材"]
["人工费"]
["管理费"]
["税费"]
["利润"]
["壳体",null,"台",1]
["合计"]
["配电图号:","-1PF-D-10",1,"台"]
["元件名称","规格型号","单位","数量","单价(元)","总价(元)","生产厂家"]
["塑壳断路器","NM1-63S/32002 25A","只",1]
["控制保护开关","DTSK1-4A 消防隔离型","只",1]
["熔断器","RT18-32","只",4]
["浪涌保护器","LKU-40KA/4P","只",1]
["二次控制单元","风机单回路控制","套",1]
["元件小计"]
["辅材"]
["人工费"]
["管理费"]
["税费"]
["利润"]
["壳体",null,"台",1]
["合计"]
["配电图号:","-1SF-D-11",1,"台"]
["元件名称","规格型号","单位","数量","单价(元)","总价(元)","生产厂家"]
["小型漏电","DZ47LE-32 4P C25A","只",1]
["控制保护开关","DTSK1-10A","只",1]
["二次控制单元","风机单回路控制","套",1]
["元件小计"]
["辅材"]
["人工费"]
["管理费"]
["税费"]
["利润"]
["壳体",null,"台",1]
["合计"]
["配电图号:","-1PF-D-9",1,"台"]
["元件名称","规格型号","单位","数量","单价(元)","总价(元)","生产厂家"]
["塑壳断路器","NM1-63S/32002 25A","只",1]
["控制保护开关","DTSK1-4A 消防隔离型","只",1]
["熔断器","RT18-32","只",4]
["浪涌保护器","LKU-40KA/4P","只",1]
["二次控制单元","风机单回路控制","套",1]
["元件小计"]
["辅材"]
["人工费"]
["管理费"]
["税费"]
["利润"]
["壳体",null,"台",1]
["合计"]
["配电图号:","2PF-2-1",1,"台"]
["元件名称","规格型号","单位","数量","单价(元)","总价(元)","生产厂家"]
["塑壳断路器","NM1-63S/32002 25A","只",1]
["控制保护开关","DTSK1-6.3A 消防隔离型","只",1]
["熔断器","RT18-32","只",4]
["浪涌保护器","LKU-40KA/4P","只",1]
["二次控制单元","风机单回路控制","套",1]
["元件小计"]
["辅材"]
["人工费"]
["管理费"]
["税费"]
["利润"]
["壳体",null,"台",1]
["合计"]
["配电图号:","2SF-2-1",1,"台"]
["元件名称","规格型号","单位","数量","单价(元)","总价(元)","生产厂家"]
["小型漏电","DZ47LE-32 4P C25A","只",1]
["控制保护开关","DTSK1-3A","只",1]
["二次控制单元","风机单回路控制","套",1]
["元件小计"]
["辅材"]
["人工费"]
["管理费"]
["税费"]
["利润"]
["壳体",null,"台",1]
["合计"]
["配电图号:","4PF-4-1",1,"台"]
["元件名称","规格型号","单位","数量","单价(元)","总价(元)","生产厂家"]
["塑壳断路器","NM1-63H/43002 40A","只",2]
["电压传感器","DH-A-53MR/S","只",1]
["双电源切换","YES1-100GA/4P 40A","只",1]
["监控探测器","SCK600A1","只",1]
["探测互感器","LF40","只",1]
["控制保护开关","DTSK1-6A","只",1]
["熔断器","RT18-32","只",4]
["浪涌保护器","LKU-40KA/4P","只",1]
["二次控制单元","风机单回路控制","套",1]
["元件小计"]
["辅材"]
["人工费"]
["管理费"]
["税费"]
["利润"]
["壳体",null,"台",1]
["合计"]
["配电图号:","AP-KT1",1,"台"]
["元件名称","规格型号","单位","数量","单价(元)","总价(元)","生产厂家"]
["塑壳断路器","NM1-400S/3300 350A","只",1]
["监控探测器","SCK600A1","只",1]
["探测互感器","LF400F 350A","只",1]
["电流互感器","BH-0.66Ⅰ400/5 φ40 0.5级","只",3]
["电流表","6L2-A","只",3]
["电压表","6L2-V","只",1]
["转换开关","LW5D-16 YH3/3","只",1]
["塑壳断路器","NM1-125S/3300 100A","只",2]
["塑壳断路器","NM1-125S/3300 80A","只",1]
["塑壳断路器","NM1-125S/3300 63A","只",5]
["塑壳断路器","NM1-63S/3300 50A","只",2]
["熔断器","RT16-00 160A","只",4]
["浪涌保护器","LKU-B-25KA/4","只",1]
["铜排","TMY-40X4"]
["元件小计"]
["辅材"]
["人工费"]
["管理费"]
["税费"]
["利润"]
["壳体",null,"台",1]
["合计"]
["配电图号:","AP-KT2",1,"台"]
["元件名称","规格型号","单位","数量","单价(元)","总价(元)","生产厂家"]
["塑壳断路器","NM1-400S/3300 400A","只",1]
["监控探测器","SCK600A1","只",1]
["探测互感器","LF400F 400A","只",1]
["电流互感器","BH-0.66Ⅰ400/5 φ40 0.5级","只",3]
["电流表","6L2-A","只",3]
["电压表","6L2-V","只",1]
["转换开关","LW5D-16 YH3/3","只",1]
["塑壳断路器","NM1-125S/3300 100A","只",3]
["塑壳断路器","NM1-125S/3300 63A","只",5]
["塑壳断路器","NM1-63S/3300 50A","只",2]
["熔断器","RT16-00 160A","只",4]
["浪涌保护器","LKU-B-25KA/4","只",1]
["铜排","TMY-40X4"]
["元件小计"]
["辅材"]
["人工费"]
["管理费"]
["税费"]
["利润"]
["壳体",null,"台",1]
["合计"]
["配电图号:","AP-KT3",1,"台"]
["元件名称","规格型号","单位","数量","单价(元)","总价(元)","生产厂家"]
["塑壳断路器","NM1-400S/3300 400A","只",1]
["监控探测器","SCK600A1","只",1]
["探测互感器","LF400F 400A","只",1]
["电流互感器","BH-0.66Ⅰ400/5 φ40 0.5级","只",3]
["电流表","6L2-A","只",3]
["电压表","6L2-V","只",1]
["转换开关","LW5D-16 YH3/3","只",1]
["塑壳断路器","NM1-125S/3300 100A","只",3]
["塑壳断路器","NM1-125S/3300 63A","只",3]
["塑壳断路器","NM1-63S/3300 50A","只",3]
["熔断器","RT16-00 160A","只",4]
["浪涌保护器","LKU-B-25KA/4","只",1]
["铜排","TMY-40X4"]
["元件小计"]
["辅材"]
["人工费"]
["管理费"]
["税费"]
["利润"]
["壳体",null,"台",1]
["合计"]
["配电图号:","AP-KT4",1,"台"]
["元件名称","规格型号","单位","数量","单价(元)","总价(元)","生产厂家"]
["塑壳断路器","NM1-400S/3300 400A","只",1]
["监控探测器","SCK600A1","只",1]
["探测互感器","LF400F 400A","只",1]
["电流互感器","BH-0.66Ⅰ400/5 φ40 0.5级","只",3]
["电流表","6L2-A","只",3]
["电压表","6L2-V","只",1]
["转换开关","LW5D-16 YH3/3","只",1]
["塑壳断路器","NM1-125S/3300 100A","只",5]
["塑壳断路器","NM1-63S/3300 50A","只",5]
["熔断器","RT16-00 160A","只",4]
["浪涌保护器","LKU-B-25KA/4","只",1]
["铜排","TMY-40X4"]
["元件小计"]
["辅材"]
["人工费"]
["管理费"]
["税费"]
["利润"]
["壳体",null,"台",1]
["合计"]
["配电图号:","AP-KT5",1,"台"]
["元件名称","规格型号","单位","数量","单价(元)","总价(元)","生产厂家"]
["塑壳断路器","NM1-400S/3300 350A","只",1]
["监控探测器","SCK600A1","只",1]
["探测互感器","LF400F 350A","只",1]
["电流互感器","BH-0.66Ⅰ400/5 φ40 0.5级","只",3]
["电流表","6L2-A","只",3]
["电压表","6L2-V","只",1]
["转换开关","LW5D-16 YH3/3","只",1]
["塑壳断路器","NM1-125S/3300 100A","只",5]
["塑壳断路器","NM1-63S/3300 50A","只",4]
["熔断器","RT16-00 160A","只",4]
["浪涌保护器","LKU-B-25KA/4","只",1]
["铜排","TMY-40X4"]
["元件小计"]
["辅材"]
["人工费"]
["管理费"]
["税费"]
["利润"]
["壳体",null,"台",1]
["合计"]
["配电图号:","AP-KT6",1,"台"]
["元件名称","规格型号","单位","数量","单价(元)","总价(元)","生产厂家"]
["塑壳断路器","NM1-400S/3300 315A","只",1]
["监控探测器","SCK600A1","只",1]
["探测互感器","LF400F 315A","只",1]
["电流互感器","BH-0.66Ⅰ350/5 φ40 0.5级","只",3]
["电流表","6L2-A","只",3]
["电压表","6L2-V","只",1]
["转换开关","LW5D-16 YH3/3","只",1]
["塑壳断路器","NM1-125S/3300 100A","只",3]
["塑壳断路器","NM1-125S/3300 63A","只",2]
["塑壳断路器","NM1-63S/3300 50A","只",3]
["熔断器","RT16-00 160A","只",4]
["浪涌保护器","LKU-B-25KA/4","只",1]
["铜排","TMY-40X4"]
["元件小计"]
["辅材"]
["人工费"]
["管理费"]
["税费"]
["利润"]
["壳体",null,"台",1]
["合计"]

{"sheet":"汇总表","index":1,"n_rows":85,"n_cols":8,"rows_kept":85,"merged":[[0,0,0,7],[2,0,2,7],[3,3,3,4],[3,6,3,7],[4,1,4,2],[4,4,4,7],[84,0,84,2]],"flags":["formulas_cached_only"]}
["安盐•曲阳国际广场星级酒店配电箱工程量清单"]
["公司名称：安徽盐业投资有限公司"]
["产  品  报  价  汇总"]
[{"$nulls":5},"报价日期："]
["单位名称",null,null,"项目","安盐国际广场"]
["设备名称","箱编号","规格型号","单位","数量","单价(元)","总额(元)","备注"]
["综合配电箱","-1AT-PF3","CLYJ","台",1]
["综合配电箱","-1AP-SF2","CLYJ","台",1]
["综合配电箱","-1AP-SF3","CLYJ","台",1]
["综合配电箱","-1AT-PF2","CLYJ","台",1]
["综合配电箱","-1AT2","CLYJ","台",1]
["综合配电箱","-1AP-PF4","CLYJ","台",1]
["综合配电箱","-1AP-PF6","CLYJ","台",1]
["综合配电箱","-1AT-PF1","CLYJ","台",1]
["综合配电箱","-1AT-PF4","CLYJ","台",1]
["综合配电箱","-1AP-SF1","CLYJ","台",1]
["综合配电箱","-1AP-PF5","CLYJ","台",1]
["综合配电箱","-1AT1","CLYJ","台",1]
["综合配电箱","-1AT-SH","CLYJ","台",1]
["综合配电箱","-1AP-PS4","CLYJ","台",1]
["综合配电箱","-1PF-D-2","CLYJ","台",1]
["综合配电箱","-1PF-D-3","CLYJ","台",1]
["综合配电箱","-1PY-D-1","CLYJ","台",1]
["综合配电箱","-1PF-D-9","CLYJ","台",1]
["综合配电箱","-1PY-D-3","CLYJ","台",1]
["综合配电箱","-1SF-D-5","CLYJ","台",1]
["综合配电箱","-1SF-D-6","CLYJ","台",1]
["综合配电箱","-1SF-D-7","CLYJ","台",1]
["综合配电箱","-1PF-D-6","CLYJ","台",1]
["综合配电箱","-1SF-D-10","CLYJ","台",1]
["综合配电箱","-1PF-D-4","CLYJ","台",1]
["综合配电箱","-1SF-D-3","CLYJ","台",1]
["综合配电箱","-1SF-D-4","CLYJ","台",1]
["综合配电箱","-1PF-D-7","CLYJ","台",1]
["综合配电箱","-1PY-D-2","CLYJ","台",1]
["综合配电箱","-1PF-D-8","CLYJ","台",1]
["综合配电箱","-1SF-D-1","CLYJ","台",1]
["综合配电箱","-1SF-D-2","CLYJ","台",1]
["综合配电箱","-1SF-D-9","CLYJ","台",1]
["照明配电箱","-1ALX","BEP-A116T","台",1]
["综合配电箱","3PF-3-1","CLYJ","台",1]
["综合配电箱","3SF-3-1","CLYJ","台",1]
["综合配电箱","21HZD1","CLYJ","台",1]
["综合配电箱","1ALE1","CLYJ","台",1]
["综合配电箱","2ALE2","CLYJ","台",1]
["综合配电箱","3ALE3","CLYJ","台",1]
["综合配电箱","4ALE4-1","CLYJ","台",1]
["综合配电箱","4ALE4-2","CLYJ","台",1]
["综合配电箱","5ALE5","CLYJ","台",1]
["综合配电箱","ALE6~ALE20","CLYJ","台",15]
["综合配电箱","-1ALE1","CLYJ","台",1]
["综合配电箱","-1ALE2","CLYJ","台",1]
["综合配电箱","1ATS","CLYJ","台",1]
["综合配电箱","3ATS","CLYJ","台",1]
["综合配电箱","4ATS","CLYJ","台",1]
["综合配电箱","21ATS1","CLYJ","台",1]
["综合配电箱","21ATS2","CLYJ","台",1]
["综合配电箱","21ATS3","CLYJ","台",1]
["综合配电箱","5JHJF","CLYJ","台",1]
["综合配电箱","2AP-CFJ2","CLYJ","台",1]
["综合配电箱","3AP-CFJ3","CLYJ","台",1]
["综合配电箱","21ATPY-W-1","CLYJ","台",1]
["综合配电箱","1XFS","CLYJ","台",1]
["综合配电箱","4AT-XH1","CLYJ","台",1]
["综合配电箱","4AT-JYFJ-1","CLYJ","台",2]
["综合配电箱","5AT-JYFJ-1","CLYJ","台",1]
["综合配电箱","6AT-JYFJ-1","CLYJ","台",2]
["综合配电箱","21AT-JYFJ-1","CLYJ","台",1]
["综合配电箱","21AT-JYFJ-2 21AT-JYFJ-3","CLYJ","台",2]
["综合配电箱","3AT-PY-3-1","CLYJ","台",1]
["综合配电箱","6AT-PY-3-1","CLYJ","台",1]
["综合配电箱","-1PF-D-10","CLYJ","台",1]
["综合配电箱","-1SF-D-11","CLYJ","台",1]
["综合配电箱","-1PF-D-9","CLYJ","台",1]
["综合配电箱","2PF-2-1","CLYJ","台",1]
["综合配电箱","2SF-2-1","CLYJ","台",1]
["综合配电箱","4PF-4-1","CLYJ","台",1]
["低压动力配电柜","AP-KT1","CLXL","台",1]
["低压动力配电柜","AP-KT2","CLXL","台",1]
["低压动力配电柜","AP-KT3","CLXL","台",1]
["低压动力配电柜","AP-KT4","CLXL","台",1]
["低压动力配电柜","AP-KT5","CLXL","台",1]
["低压动力配电柜","AP-KT6","CLXL","台",1]
[]
["合计",null,null,"台",94]